## Brickwork
Activities / Locations | 3 Ensure brickwork is as specified in strength & finish (evidence provided) GENERAL Pict | 6 Check line & level is correct. | 7 Check all structural openings are correct in size line & level. | 8 Check all structural openings have specified lintel with a minimum of 150mm baring/support. | 9 Check all cavities are as specified, clean & clear from debris/obstruction. Wall ties have been cleaned of excess mortar. | 11 Masonry support installed as per manufacturers instructions. | 12 All fire barriers (floor, openings & party wall) are installed as specified. | 13 Breather membrane, insulation, 25x14 channel system. | 14 Forming of cavity trays, ties and weep holes correct. | 15 Ensure all gauging, perps, beds are finished as specified. | 18 EPDM and 2nd Fix ducting installed
Facade Elevations | [6 empty] | 12 | 13 | 14 | 15 | 18
Facade Elevations/1 - Block B
Facade Elevations/1 - Block B/00 - Ground Level
Facade Elevations/1 - Block B/00 - Ground Level/East Elevation (External)
Facade Elevations/1 - Block B/00 - Ground Level/North Elevation (External)
Facade Elevations/1 - Block B/00 - Ground Level/South Elevation (External)
Facade Elevations/1 - Block B/00 - Ground Level/West Elevation (External)
Facade Elevations/1 - Block B/01 - Level 01
Facade Elevations/1 - Block B/01 - Level 01/East Elevation (External)
Facade Elevations/1 - Block B/01 - Level 01/North Elevation (External)
Facade Elevations/1 - Block B/01 - Level 01/South Elevation (External)
Facade Elevations/1 - Block B/01 - Level 01/West Elevation (External)
Facade Elevations/1 - Block B/02 - Level 02
Facade Elevations/1 - Block B/02 - Level 02/East Elevation (External)
Facade Elevations/1 - Block B/02 - Level 02/North Elevation (External)
Facade Elevations/1 - Block B/02 - Level 02/South Elevation (External)
Facade Elevations/1 - Block B/02 - Level 02/West Elevation (External)
Facade Elevations/1 - Block B/03 - Level 03
Facade Elevations/1 - Block B/03 - Level 03/East Elevation (External)
Facade Elevations/1 - Block B/03 - Level 03/North Elevation (External)
Facade Elevations/1 - Block B/03 - Level 03/South Elevation (External)
Facade Elevations/1 - Block B/03 - Level 03/West Elevation (External)
Facade Elevations/1 - Block B/04 - Level 04
Facade Elevations/1 - Block B/04 - Level 04/East Elevation (External)
Facade Elevations/1 - Block B/04 - Level 04/North Elevation (External)
Facade Elevations/1 - Block B/04 - Level 04/South Elevation (External)
Facade Elevations/1 - Block B/04 - Level 04/West Elevation (External)
Facade Elevations/1 - Block B/05 - Level 05
Facade Elevations/1 - Block B/05 - Level 05/East Elevation (External)
Facade Elevations/1 - Block B/05 - Level 05/North Elevation (External)
Facade Elevations/1 - Block B/05 - Level 05/South Elevation (External)
Facade Elevations/1 - Block B/05 - Level 05/West Elevation (External)
Facade Elevations/1 - Block B/06 - Level 06
Facade Elevations/1 - Block B/06 - Level 06/East Elevation (External)
Facade Elevations/1 - Block B/06 - Level 06/North Elevation (External)
Facade Elevations/1 - Block B/06 - Level 06/South Elevation (External)
Facade Elevations/1 - Block B/06 - Level 06/West Elevation (External)
Facade Elevations/1 - Block B/07 - Level 07
Facade Elevations/1 - Block B/07 - Level 07/East Elevation (External)
Facade Elevations/1 - Block B/07 - Level 07/North Elevation (External)
Facade Elevations/1 - Block B/07 - Level 07/South Elevation (External)
Facade Elevations/1 - Block B/07 - Level 07/West Elevation (External)
Facade Elevations/1 - Block B/08 - Level 08
Facade Elevations/1 - Block B/08 - Level 08/East Elevation (External)
Facade Elevations/1 - Block B/08 - Level 08/North Elevation (External)
Facade Elevations/1 - Block B/08 - Level 08/South Elevation (External)
Facade Elevations/1 - Block B/08 - Level 08/West Elevation (External)
Facade Elevations/1 - Block B/09 - Level 09
Facade Elevations/1 - Block B/09 - Level 09/East Elevation (External)
Facade Elevations/1 - Block B/09 - Level 09/North Elevation (External)
Facade Elevations/1 - Block B/09 - Level 09/South Elevation (External)
Facade Elevations/1 - Block B/09 - Level 09/West Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10
Facade Elevations/1 - Block B/10 - Level 10/East Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10/North Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10/South Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10/West Elevation (External)
Facade Elevations/1 - Block B/11 - Level 11
Facade Elevations/1 - Block B/11 - Level 11/East Elevation (External)
Facade Elevations/1 - Block B/11 - Level 11/South Elevation (External)
Facade Elevations/1 - Block B/11 - Level 11/West Elevation (External)
Facade Elevations/2 - Block A
Facade Elevations/2 - Block A/00 - Ground Level
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard North (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard South (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/East Elevation (External)
Facade Elevations/2 - Block A/00 - Ground Level/North Elevation (External)
Facade Elevations/2 - Block A/00 - Ground Level/South Elevation (External)
Facade Elevations/2 - Block A/00 - Ground Level/West Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01
Facade Elevations/2 - Block A/01 - Level 01/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/01 - Level 01/Courtyard North (Internal)
Facade Elevations/2 - Block A/01 - Level 01/Courtyard South (Internal)
Facade Elevations/2 - Block A/01 - Level 01/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/01 - Level 01/East Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01/North Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01/South Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01/West Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02
Facade Elevations/2 - Block A/02 - Level 02/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/02 - Level 02/Courtyard North (Internal)
Facade Elevations/2 - Block A/02 - Level 02/Courtyard South (Internal)
Facade Elevations/2 - Block A/02 - Level 02/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/02 - Level 02/East Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02/North Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02/South Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02/West Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03
Facade Elevations/2 - Block A/03 - Level 03/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/03 - Level 03/Courtyard North (Internal)
Facade Elevations/2 - Block A/03 - Level 03/Courtyard South (Internal)
Facade Elevations/2 - Block A/03 - Level 03/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/03 - Level 03/East Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03/North Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03/South Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03/West Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04
Facade Elevations/2 - Block A/04 - Level 04/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/04 - Level 04/Courtyard North (Internal)
Facade Elevations/2 - Block A/04 - Level 04/Courtyard South (Internal)
Facade Elevations/2 - Block A/04 - Level 04/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/04 - Level 04/East Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04/North Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04/South Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04/West Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05
Facade Elevations/2 - Block A/05 - Level 05/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/05 - Level 05/Courtyard North (Internal)
Facade Elevations/2 - Block A/05 - Level 05/Courtyard South (Internal)
Facade Elevations/2 - Block A/05 - Level 05/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/05 - Level 05/East Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05/North Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05/South Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05/West Elevation (External)
Facade Elevations/2 - Block A/06 - Level 06
Facade Elevations/2 - Block A/06 - Level 06/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/06 - Level 06/Courtyard North (Internal)
Facade Elevations/2 - Block A/06 - Level 06/Courtyard South (Internal)
Facade Elevations/2 - Block A/06 - Level 06/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/06 - Level 06/East Elevation (External)
Facade Elevations/2 - Block A/06 - Level 06/South Elevation (External)
Facade Elevations/2 - Block A/06 - Level 06/West Elevation (External)
Facade Elevations/2 - Block A/07 - Level 07
Facade Elevations/2 - Block A/07 - Level 07/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/07 - Level 07/Courtyard North (Internal)
Facade Elevations/2 - Block A/07 - Level 07/Courtyard South (Internal)
Facade Elevations/2 - Block A/07 - Level 07/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/07 - Level 07/East Elevation (External)
Facade Elevations/2 - Block A/07 - Level 07/South Elevation (External)
Facade Elevations/2 - Block A/07 - Level 07/West Elevation (External)
Facade Elevations/2 - Block A/08 - Level 08
Facade Elevations/2 - Block A/08 - Level 08/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/08 - Level 08/Courtyard North (Internal)
Facade Elevations/2 - Block A/08 - Level 08/Courtyard South (Internal)
Facade Elevations/2 - Block A/08 - Level 08/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/08 - Level 08/East Elevation (External)
Facade Elevations/2 - Block A/08 - Level 08/South Elevation (External)
Facade Elevations/2 - Block A/08 - Level 08/West Elevation (External)
Facade Elevations/2 - Block A/09 - Level 09
Facade Elevations/2 - Block A/09 - Level 09/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/09 - Level 09/Courtyard South (Internal)
Facade Elevations/2 - Block A/09 - Level 09/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/09 - Level 09/East Elevation (External)
Facade Elevations/2 - Block A/09 - Level 09/South Elevation (External)
Facade Elevations/2 - Block A/09 - Level 09/West Elevation (External)
Facade Elevations/2 - Block A/10 - Level 10
Facade Elevations/2 - Block A/10 - Level 10/Courtyard South (Internal)
Facade Elevations/2 - Block A/10 - Level 10/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/10 - Level 10/East Elevation (External) | [6 empty] | 10
Facade Elevations/2 - Block A/10 - Level 10/South Elevation (External)
Facade Elevations/2 - Block A/10 - Level 10/West Elevation (External)
Facade Elevations/2 - Block A/11 - Level 11
Facade Elevations/2 - Block A/11 - Level 11/Courtyard South (Internal)
Facade Elevations/2 - Block A/11 - Level 11/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/11 - Level 11/East Elevation (External)
Facade Elevations/2 - Block A/11 - Level 11/South Elevation (External)
Facade Elevations/2 - Block A/11 - Level 11/West Elevation (External)

## SideRaise
Activities / Locations | 2 Siderise B Series spike fixings are fitted 2 per 1200mm length, max 600mm spacings | 3 Siderise EW/FS120 or EW/CB30 has been cut to suit cavity size, ensuring tight fit. | 4All joints sealed with foil tape. | 5Vertical barrier has been correctly cut in order to accommodate cavity tray where required. | 6Vertical and horizontal barriers are tightly abutted and joints sealed with foil tape.
Facade Elevations/1 - Block B/09 - Level 09
Facade Elevations/1 - Block B/09 - Level 09/East Elevation (External)
Facade Elevations/1 - Block B/09 - Level 09/North Elevation (External)
Facade Elevations/1 - Block B/09 - Level 09/South Elevation (External)
Facade Elevations/1 - Block B/09 - Level 09/West Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10
Facade Elevations/1 - Block B/10 - Level 10/East Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10/North Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10/South Elevation (External)
Facade Elevations/1 - Block B/10 - Level 10/West Elevation (External)
Facade Elevations/1 - Block B/11 - Level 11
Facade Elevations/1 - Block B/11 - Level 11/East Elevation (External)
Facade Elevations/1 - Block B/11 - Level 11/South Elevation (External)
Facade Elevations/1 - Block B/11 - Level 11/West Elevation (External)
Facade Elevations/2 - Block A
Facade Elevations/2 - Block A/00 - Ground Level
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard North (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard South (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/00 - Ground Level/East Elevation (External)
Facade Elevations/2 - Block A/00 - Ground Level/North Elevation (External)
Facade Elevations/2 - Block A/00 - Ground Level/South Elevation (External)
Facade Elevations/2 - Block A/00 - Ground Level/West Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01
Facade Elevations/2 - Block A/01 - Level 01/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/01 - Level 01/Courtyard North (Internal)
Facade Elevations/2 - Block A/01 - Level 01/Courtyard South (Internal)
Facade Elevations/2 - Block A/01 - Level 01/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/01 - Level 01/East Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01/North Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01/South Elevation (External)
Facade Elevations/2 - Block A/01 - Level 01/West Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02
Facade Elevations/2 - Block A/02 - Level 02/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/02 - Level 02/Courtyard North (Internal)
Facade Elevations/2 - Block A/02 - Level 02/Courtyard South (Internal)
Facade Elevations/2 - Block A/02 - Level 02/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/02 - Level 02/East Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02/North Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02/South Elevation (External)
Facade Elevations/2 - Block A/02 - Level 02/West Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03
Facade Elevations/2 - Block A/03 - Level 03/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/03 - Level 03/Courtyard North (Internal)
Facade Elevations/2 - Block A/03 - Level 03/Courtyard South (Internal)
Facade Elevations/2 - Block A/03 - Level 03/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/03 - Level 03/East Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03/North Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03/South Elevation (External)
Facade Elevations/2 - Block A/03 - Level 03/West Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04
Facade Elevations/2 - Block A/04 - Level 04/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/04 - Level 04/Courtyard North (Internal)
Facade Elevations/2 - Block A/04 - Level 04/Courtyard South (Internal)
Facade Elevations/2 - Block A/04 - Level 04/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/04 - Level 04/East Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04/North Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04/South Elevation (External)
Facade Elevations/2 - Block A/04 - Level 04/West Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05
Facade Elevations/2 - Block A/05 - Level 05/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/05 - Level 05/Courtyard North (Internal)
Facade Elevations/2 - Block A/05 - Level 05/Courtyard South (Internal)
Facade Elevations/2 - Block A/05 - Level 05/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/05 - Level 05/East Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05/North Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05/South Elevation (External)
Facade Elevations/2 - Block A/05 - Level 05/West Elevation (External)
Facade Elevations/2 - Block A/06 - Level 06
Facade Elevations/2 - Block A/06 - Level 06/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/06 - Level 06/Courtyard North (Internal)
Facade Elevations/2 - Block A/06 - Level 06/Courtyard South (Internal)
Facade Elevations/2 - Block A/06 - Level 06/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/06 - Level 06/East Elevation (External)
Facade Elevations/2 - Block A/06 - Level 06/South Elevation (External)
Facade Elevations/2 - Block A/06 - Level 06/West Elevation (External)
Facade Elevations/2 - Block A/07 - Level 07
Facade Elevations/2 - Block A/07 - Level 07/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/07 - Level 07/Courtyard North (Internal)
Facade Elevations/2 - Block A/07 - Level 07/Courtyard South (Internal)
Facade Elevations/2 - Block A/07 - Level 07/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/07 - Level 07/East Elevation (External)
Facade Elevations/2 - Block A/07 - Level 07/South Elevation (External)
Facade Elevations/2 - Block A/07 - Level 07/West Elevation (External)
Facade Elevations/2 - Block A/08 - Level 08
Facade Elevations/2 - Block A/08 - Level 08/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/08 - Level 08/Courtyard North (Internal)
Facade Elevations/2 - Block A/08 - Level 08/Courtyard South (Internal)
Facade Elevations/2 - Block A/08 - Level 08/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/08 - Level 08/East Elevation (External)
Facade Elevations/2 - Block A/08 - Level 08/South Elevation (External)
Facade Elevations/2 - Block A/08 - Level 08/West Elevation (External)
Facade Elevations/2 - Block A/09 - Level 09
Facade Elevations/2 - Block A/09 - Level 09/Courtyard East Elevation (Internal)
Facade Elevations/2 - Block A/09 - Level 09/Courtyard South (Internal)
Facade Elevations/2 - Block A/09 - Level 09/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/09 - Level 09/East Elevation (External)
Facade Elevations/2 - Block A/09 - Level 09/South Elevation (External)
Facade Elevations/2 - Block A/09 - Level 09/West Elevation (External)
Facade Elevations/2 - Block A/10 - Level 10
Facade Elevations/2 - Block A/10 - Level 10/Courtyard South (Internal)
Facade Elevations/2 - Block A/10 - Level 10/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/10 - Level 10/East Elevation (External)
Facade Elevations/2 - Block A/10 - Level 10/South Elevation (External)
Facade Elevations/2 - Block A/10 - Level 10/West Elevation (External)
Facade Elevations/2 - Block A/11 - Level 11
Facade Elevations/2 - Block A/11 - Level 11/Courtyard South (Internal)
Facade Elevations/2 - Block A/11 - Level 11/Courtyard West Elevation (Internal)
Facade Elevations/2 - Block A/11 - Level 11/East Elevation (External)
Facade Elevations/2 - Block A/11 - Level 11/South Elevation (External)
Facade Elevations/2 - Block A/11 - Level 11/West Elevation (External)